
[image: image1.png]z
=
w
T
=
a
<
i
=
-
o
o
w
o
@
o





	Activity 2.1.1 Wood Frame Systems



Introduction

Most people do not consider what is behind the painted walls or exterior surface in most buildings. Homes are often constructed with a wood frame, especially if the area has an abundant supply of wood. Much of the United States has an abundant supply, so wood frame buildings are common. Different regions, however, dictate other differences, such as whether the outside facing walls are made of 2x4 or 2x6 studs to allow for different amounts of insulation. Wood frame construction has existed for many years. If you visit a construction site to observe the skeleton of such a structure, you should be able to make sense of the placement of the different support pieces. 

Equipment

· Internet and/or reference texts

Procedure

In this activity you will use available resources to identify the primary parts of a traditional wood frame structure and then describe the purpose of each.

1. Use letters or numbers to identify at least 15 components in the image below. Then list the purpose of each component.

2. Upon completion, discover and include any components that should be added to your table.

	Label
	Component
	Component’s Purpose

	1
	Floor Joists
	Horizontal Structural members used to carry the floor and ceiling loads.


	2
	Subfloor
	The structural floor joined to the joists supports the finish flooring.


	3
	Stud
	The vertical framing member in frame wall construction


	4
	Top Plate
	A horizontal structure on top of the studs to hold the walls together.


	5
	Cripple
	Transfers weight from opening to stud to floor.


	6
	Trusses
	Assembly of structural members joined to form a rigid framework, usually forms triangles.


	7
	Insulation
	Material used to restrict the flow of heat or sound form one surface to another.


	8
	Sheathing
	Cover placed over exterior studs or rafters.


	9
	Vapor Barrier
	Material designed to keep out liquid water and prevent air infiltration while allowing water vapor to escape.


	10
	Siding
	Material used for surfacing the outside walls of a frame building.


	11
	Roof Felt
	A tar-impregnated paper used for water protection under roofing materials.


	12
	Asphalt Shingles
	Roof shingles made of asphalt-saturated felt and covered with mineral granules.


	13
	Sole Plate
	Horizontal member located at the bottom of the studs used to hold the wall together.


	14
	Header
	Horizontal structure to support other members over openings.


	15
	Sill
	Horizontal member placed at the bottom of walls and openings.


	
	
	

	
	
	

	
	
	


[image: image2.png]



Conclusion
3. List, describe, and explain the purpose of two components of a residential building that you are familiar with, such as your home.

Insulation helps keep the outside temperatures out of my house and keep the cost down on heating and cooling. Another is the window sill because pretty much all of my windows have them and it is just a base plate for the window.
4. Which part of wood frame construction do you think will change the most in the near future? Explain the change and why you believe it will occur soon.

I think that the insulation will change the most because they will find much more efficient ways of doing it because it is needed in pretty much all buildings.[image: image3.png]



1. 


2.


3.


4.


5.


6.


7.


8.


9.


10.


11.


12.


13.


14.


15.








© 2010 Project Lead The Way, Inc.

CEA Activity 2.1.1 Wood Frame Systems – Page 3

